## sample_count
LD |  | HK
TA/DIC | 255 | 13CDIC_40 | 160
DIC | 256 | 13CDIC_100 | 23
Si | 256 | 13CDIC_250 | 33
Nuts | 256 | 13CDOC_20 | 77
|  | DOC_20 | 56
TOTAL | 1023 |  | 349
GRAND TOTAL |  |  | 1372

## sampling_sheet
staff | dship | cruise | station | cast | niskin | year | month | day | hour | min | uw_tubbing | latitude | longitude | depth | salinity | temperature | talk_tco2 | nuts | si | tco2_5 | δ13CDIC_40 | δ13CDIC_100 | δ13CDIC_250 | δ13CDOC | DOC | flag | comments
initials | code | SO279 | number | number | number | yyyy | mm | dd | hh | mm | in/out | degrees | degrees | m | p.s.u | celcius | count | count | count | count | count | count | count | count | count | 2 for good, 4 for bad, 5 for not reported | txt
[17 empty] | LD | LD | LD | LD | HK | HK | HK | HK | HK
[17 empty] | 250 mL | 5 mL | 5 mL | 5 mL | 40 mL | 100 mL | 250 mL | 20 mL | 20 mL
LD | SO279_1-1_CTD_01-1 | SO279 | 1 | 1 | 1 | 2020 | 12 | 8 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-6 | SO279 | 1 | 1 | 6 | 2020 | 12 | 8 | [5 empty] | 4000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-7 | SO279 | 1 | 1 | 7 | 2020 | 12 | 8 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-8 | SO279 | 1 | 1 | 8 | 2020 | 12 | 8 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-9 | SO279 | 1 | 1 | 9 | 2020 | 12 | 8 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-10 | SO279 | 1 | 1 | 10 | 2020 | 12 | 8 | [5 empty] | 775 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1 |  | potential Med signal
LD | SO279_1-1_CTD_01-14 | SO279 | 1 | 1 | 14 | 2020 | 12 | 8 | [5 empty] | 150 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-15 | SO279 | 1 | 1 | 15 | 2020 | 12 | 8 | [5 empty] | 100 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-17 | SO279 | 1 | 1 | 17 | 2020 | 12 | 8 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-19 | SO279 | 1 | 1 | 19 | 2020 | 12 | 8 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-20 | SO279 | 1 | 1 | 20 | 2020 | 12 | 8 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_1-1_CTD_01-24 | SO279 | 1 | 1 | 24 | 2020 | 12 | 8 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | n/a | SO279 | SUB | 0 | 0 | 2020 | 12 | 8 | 22 | 24 | out |  |  | 10 |  |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 |  | ruined pH profile + high pressure so bubbles
LD | n/a | SO279 | SUB | 0 | 0 | 2020 | 12 | 8 | 22 | 28 | in |  |  | 10 |  |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 |  | ruined pH profile + long to fill up + bubbles
LD | SO279_7-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 9 | 08 | 10 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | better for TA/DIC but messued up pH profile using 50 mL syringe (built pressure inside cell)
LD | SO279_10-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 9 | 14 | 08 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_12-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 11 | 20 | 21 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0 |  | Forgot to filter nuts, si and dic
LD | SO279_13-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 12 | 09 | 27 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0
LD | SO279_16-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 12 | 22 | 12 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0
LD | SO279_17-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 13 | 10 | 28 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0
LD | SO279_21-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 13 | 22 | 08 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0
LD | SO279_22-1_CTD_02-3 | SO279 | 3 | 1 | 3 | 2020 | 12 | 14 | [5 empty] | 5500 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-6 | SO279 | 3 | 1 | 6 | 2020 | 12 | 14 | [5 empty] | 4000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-7 | SO279 | 3 | 1 | 7 | 2020 | 12 | 14 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-8 | SO279 | 3 | 1 | 8 | 2020 | 12 | 14 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-13 | SO279 | 3 | 1 | 13 | 2020 | 12 | 14 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-14 | SO279 | 3 | 1 | 14 | 2020 | 12 | 14 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-17 | SO279 | 3 | 1 | 17 | 2020 | 12 | 14 | [5 empty] | 120 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-19 | SO279 | 3 | 1 | 19 | 2020 | 12 | 14 | [5 empty] | 80 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-21 | SO279 | 3 | 1 | 21 | 2020 | 12 | 14 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-23 | SO279 | 3 | 1 | 23 | 2020 | 12 | 14 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_22-1_CTD_02-24 | SO279 | 3 | 1 | 24 | 2020 | 12 | 14 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 1 | 1
LD | SO279_24-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 14 | 07 | 28 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0 |  | pump stopped working after 2pm on 14/12 so stopped UWS measurements
LD | SO279_35-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 15 | 21 | 43 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | soaked new optode cap and recalibrated, started measurements again
LD | SO279_36-1_CTD_03-1 | SO279 | 4 | 1 | 1 | 2020 | 12 | 16 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-11 | SO279 | 4 | 1 | 11 | 2020 | 12 | 16 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0 |  | Rui opened niskin before me
LD | SO279_36-1_CTD_03-12 | SO279 | 4 | 1 | 12 | 2020 | 12 | 16 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-13 | SO279 | 4 | 1 | 13 | 2020 | 12 | 16 | [5 empty] | 1000 |  |  | 1 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0 |  | 1 x TA/DIC bottle broke during processing
LD | SO279_36-1_CTD_03-14 | SO279 | 4 | 1 | 14 | 2020 | 12 | 16 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-18 | SO279 | 4 | 1 | 18 | 2020 | 12 | 16 | [5 empty] | 100 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-19 | SO279 | 4 | 1 | 19 | 2020 | 12 | 16 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0 |  |  | 10
LD | SO279_36-1_CTD_03-21 | SO279 | 4 | 1 | 21 | 2020 | 12 | 16 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-23 | SO279 | 4 | 1 | 23 | 2020 | 12 | 16 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_36-1_CTD_03-24 | SO279 | 4 | 1 | 24 | 2020 | 12 | 16 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_38-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 16 | 11 | 10 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | pump broke again so stopped measurements after 10 pm on 16/12 + accidentally unplugged optode when unscrewing cell
LD | SO279_45-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 17 | 13 | 49 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | managed to recalibrate optode this morning
LD | SO279_47-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 17 | 20 | 52 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_52-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 18 | 10 | 52 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_52-1_CTD_04-1 | SO279 | 5 | 1 | 1 | 2020 | 12 | 18 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-7 | SO279 | 5 | 1 | 7 | 2020 | 12 | 18 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-11 | SO279 | 5 | 1 | 11 | 2020 | 12 | 18 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-12 | SO279 | 5 | 1 | 12 | 2020 | 12 | 18 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-13 | SO279 | 5 | 1 | 13 | 2020 | 12 | 18 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-15 | SO279 | 5 | 1 | 15 | 2020 | 12 | 18 | [5 empty] | 300 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-16 | SO279 | 5 | 1 | 16 | 2020 | 12 | 18 | [5 empty] | 130 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-19 | SO279 | 5 | 1 | 19 | 2020 | 12 | 18 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-20 | SO279 | 5 | 1 | 20 | 2020 | 12 | 18 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-23 | SO279 | 5 | 1 | 23 | 2020 | 12 | 18 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_52-1_CTD_04-24 | SO279 | 5 | 1 | 24 | 2020 | 12 | 18 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_57-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 18 | 22 | 32 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_61-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 10 | 22 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | bottles might sat 10h42
LD | SO279_63-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 16 | 22 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | HR
LD | SO279_64-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 16 | 52 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | HR
LD | SO279_65-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 17 | 22 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | HR
LD | SO279_66-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 17 | 52 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | HR
LD | SO279_67-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 19 | 22 | 01 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_70-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 20 | 9 | 04 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_69-1_CTD_05-1 | SO279 | 6 | 1 | 1 | 2020 | 12 | 20 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-7 | SO279 | 6 | 1 | 7 | 2020 | 12 | 20 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-8 | SO279 | 6 | 1 | 8 | 2020 | 12 | 20 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-12 | SO279 | 6 | 1 | 12 | 2020 | 12 | 20 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1 |  |  | 33
LD | SO279_69-1_CTD_05-13 | SO279 | 6 | 1 | 13 | 2020 | 12 | 20 | [5 empty] | 800 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-14 | SO279 | 6 | 1 | 14 | 2020 | 12 | 20 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-16 | SO279 | 6 | 1 | 16 | 2020 | 12 | 20 | [5 empty] | 150 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-19 | SO279 | 6 | 1 | 19 | 2020 | 12 | 20 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-20 | SO279 | 6 | 1 | 20 | 2020 | 12 | 20 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-23 | SO279 | 6 | 1 | 23 | 2020 | 12 | 20 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_69-1_CTD_05-24 | SO279 | 6 | 1 | 24 | 2020 | 12 | 20 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_74-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 20 | 16 | 50 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_76-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 20 | 22 | 08 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_79-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 21 | 9 | 25 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_80-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 21 | 11 | 31 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_81-1_CTD_06-1 | SO279 | 7 | 1 | 1 | 2020 | 12 | 21 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-9 | SO279 | 7 | 1 | 9 | 2020 | 12 | 21 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-10 | SO279 | 7 | 1 | 10 | 2020 | 12 | 21 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-11 | SO279 | 7 | 1 | 11 | 2020 | 12 | 21 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-12 | SO279 | 7 | 1 | 12 | 2020 | 12 | 21 | [5 empty] | 800 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-13 | SO279 | 7 | 1 | 13 | 2020 | 12 | 21 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-16 | SO279 | 7 | 1 | 16 | 2020 | 12 | 21 | [5 empty] | 150 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-18 | SO279 | 7 | 1 | 18 | 2020 | 12 | 21 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-21 | SO279 | 7 | 1 | 21 | 2020 | 12 | 21 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-22 | SO279 | 7 | 1 | 22 | 2020 | 12 | 21 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0
LD | SO279_81-1_CTD_06-24 | SO279 | 7 | 1 | 24 | 2020 | 12 | 21 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 1 | 0 |  | niskin was leaking when back on deck - didn’t close properly
LD | SO279_84-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 21 | 21 | 40 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_88-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 22 | 10 | 47 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_91-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 22 | 21 | 17 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_92-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 23 | 11 | 33 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm beginning
LD | SO279_93-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 23 | 21 | 52 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_94-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 24 | 10 | 19 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_95-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 24 | 23 | 05 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_96-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 25 | 11 | 15 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_97-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 25 | 21 | 39 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_99-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 26 | 10 | 55 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | storm - lots of bubble because of storm (sometimes water going backwards)
LD | SO279_100-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 26 | 22 | 42 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | WORST - same as previous lines, way too much air - letting it run as optode still behaving okay but worth considering ignoring measurements from 12pm onwards for 26/12 until air is gone
LD | SO279_102-1_CTD_07-1 | SO279 | 9 | 1 | 1 | 2020 | 12 | 27 | [5 empty] | 4400 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-8 | SO279 | 9 | 1 | 8 | 2020 | 12 | 27 | [5 empty] | 4000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-9 | SO279 | 9 | 1 | 9 | 2020 | 12 | 27 | [5 empty] | 3000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-10 | SO279 | 9 | 1 | 10 | 2020 | 12 | 27 | [5 empty] | 2000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-11 | SO279 | 9 | 1 | 11 | 2020 | 12 | 27 | [5 empty] | 1000 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-13 | SO279 | 9 | 1 | 13 | 2020 | 12 | 27 | [5 empty] | 500 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-16 | SO279 | 9 | 1 | 16 | 2020 | 12 | 27 | [5 empty] | 150 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-18 | SO279 | 9 | 1 | 18 | 2020 | 12 | 27 | [5 empty] | 75 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-21 | SO279 | 9 | 1 | 21 | 2020 | 12 | 27 | [5 empty] | 50 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-23 | SO279 | 9 | 1 | 23 | 2020 | 12 | 27 | [5 empty] | 25 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_102-1_CTD_07-24 | SO279 | 9 | 1 | 24 | 2020 | 12 | 27 | [5 empty] | 10 |  |  | 2 | 2 | 2 | 2 | 2 | 0 | 1 | 1 | 1
LD | SO279_109-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 28 | 15 | 16 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0
LD | SO279_110-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 28 | 21 | 39 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_111-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 29 | 10 | 58 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_113-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 29 | 22 | 44 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_114-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 12 | 04 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_116-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 19 | 26 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_117-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 19 | 48 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_118-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 20 | 01 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_119-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 20 | 14 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_120-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 20 | 30 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_121-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 20 | 47 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_122-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 21 | 05 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_123-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 21 | 23 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles
LD | SO279_124-1_UWS | SO279 | SUB | 0 | 0 | 2020 | 12 | 30 | 21 | 36 | out |  |  | 10 |  |  | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 |  | small bubbles

## change dship times
staff | dship | year | month | day | hour | min
LD | SO279_7-1_UWS | 2020 | 12 | 9 | 08 | 10
LD | SO279_10-1_UWS | 2020 | 12 | 9 | 14 | 08
LD | SO279_12-1_UWS | 2020 | 12 | 11 | 20 | 21
LD | SO279_13-1_UWS | 2020 | 12 | 12 | 09 | 27
LD | SO279_16-1_UWS | 2020 | 12 | 12 | 22 | 12
LD | SO279_17-1_UWS | 2020 | 12 | 13 | 10 | 28
LD | SO279_21-1_UWS | 2020 | 12 | 13 | 22 | 08

## calib uws
date | file name | buffers batch | crm bottle | notes
2020-12-08 | test | batch 1 | CRM-189-1209 | calibration optode offset
2020-12-09 | test | batch 1 | CRM-189-0899 | end of sampling period
2020-12-11 | naptram2020 | batch 2 | CRM-189-0407 | calibration optode offset | NO end of sampling because problem with pump which ruined the optode cap on 14/12
2020-12-15 | naptram20202 | batch 3 | CRM-189-0160 | calibration optode offset | NO end of sampling because problem with pump which ruined the optode cap on 16/12
2020-12-17 | naptram20203 | batch 3 | CRM-189-0466 | calibration optode offset | Stopped working on 18/12 at 11am because problem with pump
2020-12-18 | naptram20204 | n/a | n/a | didn’t recalibrate (seemed fine) + END: put in pH2 after 20/12 subsample at 16h50
| naptram20205 | batch 3 | CRM-189-0225 | calibrated with last made buffers - had to end measurements as membrane pump needs maintenance // put optode in UWS seawater to not lose the calibration from previous night
2020-12-21 | naptram20206 | n/a | n/a | didn't recalibrate as left optode in UWS seawater - after optode stabilization, values look fine 27/12 - 9h30ish, VTD turned the pump off without telling me - running a CRM6 as a sample to try and estimate drift
2020-12-27 | naptram2020CRM6 | n/a | CRM-189-0530 | see above line
2020-12-28 | naptram20207 | batch 4 | CRM-189-0715 | calibration optode offset